## GEData
Name | Description | DisplayValue | Value | Type | Group | Default Value | System Name | Expression | Channel | Sensor | Filtering | PLC_Channel | PLC_Sensor | Name
Door11 | Door 11 (before corner 1 crossleg ZS5018A) | Closed | 1 | DI | Access | 0 | PLC |  | Door11 |  |  | Door11 |  | Door11
Door12 | Door 12 (crossleg, after corner 1, ZS5017A) | Closed | 1 | DI | Access | 0 | PLC |  | Door12 |  |  | Door12 |  | Door12
Door13 | Door 13 (crossleg, before corner 2, ZS5016A) | Closed | 1 | DI | Access | 0 | PLC |  | Door13 |  |  | Door13 |  | Door13
Door14 | Door 14 (fan inlet ZS5015A) | Closed | 1 | DI | Access | 0 | PLC |  | Door14 |  |  | Door14 |  | Door14
Door15 | Door 15 (fan outlet ZS5014A) | Closed | 1 | DI | Access | 0 | PLC |  | Door15 |  |  | Door15 |  | Door15
Door16 | Door 16 (before corner 3, ZS5013A) | Closed | 1 | DI | Access | 0 | PLC |  | Door16 |  |  | Door16 |  | Door16
Door17 | Door 17 (before heat exchanger ZS5012A) | Closed | 1 | DI | Access | 0 | PLC |  | Door17 |  |  | Door17 |  | Door17
Door18 | Door 18 (after heat exchanger ZS5011A) | Closed | 1 | DI | Access | 0 | PLC |  | Door18 |  |  | Door18 |  | Door18
Door19 | Door 19 (corner 4, after crossleg ZS5010A) | Closed | 1 | DI | Access | 0 | PLC |  | Door19 |  |  | Door19 |  | Door19
Door20 | Door 20 (before honeycomb ZS5009A) | Closed | 1 | DI | Access | 0 | PLC |  | Door20 |  |  | Door20 |  | Door20
Door21 | Door 21 (after honeycomb ZS5008A) | Closed | 1 | DI | Access | 0 | PLC |  | Door21 |  |  | Door21 |  | Door21
Door22 | Door 22 (stilling chamber ZS5007A) | Closed | 1 | DI | Access | 0 | PLC |  | Door22 |  |  | Door22 |  | Door22
Door23 | Door 23 (TS right rear door ZS5003A) | Open | 0 | DI | Access | 0 | PLC |  | Door23 |  |  | Door23 |  | Door23
Door25 | Door 25 (TS left rear manual door ZS5004A) | Closed | 1 | DI | Access | 0 | PLC |  | Door25 |  |  | Door25 |  | Door25
DoorKey24 | Door Key 24 (Fan limit key ZS5004C) | NoLimit | 0 | DI | Access | 0 | PLC |  | Door24 |  |  | Door24 |  | DoorKey24
KirkKeySts | Kirk keys panel status | Open | 0 | DI | Access | 0 | PLC |  | KirkKeySts |  |  | KirkKeySts |  | KirkKeySts
MP_TSDoorsPermPB | Test section doors permissive push button | NoPerm | 0 | DI | Access | 0 | PLC |  | MP_TSDoorsPermPB |  |  | MP_TSDoorsPermPB |  | MP_TSDoorsPermPB
MP_TSLDoorOpenPB | Test section left door open pushbutton, main panel | - | 0 | DI | Access | 0 | PLC |  | MP_TSLDoorOpenPB |  |  | MP_TSLDoorOpenPB |  | MP_TSLDoorOpenPB
MP_TSRDoorOpenPB | Test section right door open pushbutton, main panel | - | 0 | DI | Access | 0 | PLC |  | MP_TSRDoorOpenPB |  |  | MP_TSRDoorOpenPB |  | MP_TSRDoorOpenPB
TS_DoorsPerm | Test section doors permissive pushbutton, main panel | NoPerm | 0 | DO | Access | 0 | PLC |  | TS_DoorsPerm |  |  | TS_DoorsPerm |  | TS_DoorsPerm
TS_DoorsReq | Test section door open request | Close | 0 | DO | Access | 0 | PLC |  | TS_DoorsReq |  |  | TS_DoorsReq |  | TS_DoorsReq
TS_DoorsSts | Test section door open status | Open | 2 | DI | Access | 0 | PLC |  | TS_DoorsSts |  |  | TS_DoorsSts |  | TS_DoorsSts
TS_LeftDoorCloseCmd | Test section left door Close internal command | - | 0 | DI | Access | 0 | PLC |  | TS_LeftDoorCloseCmd |  |  | TS_LeftDoorCloseCmd |  | TS_LeftDoorCloseCmd
TS_LeftDoorOpenCmd | Test section left door Open internal command | - | 0 | DI | Access | 0 | PLC |  | TS_LeftDoorOpenCmd |  |  | TS_LeftDoorOpenCmd |  | TS_LeftDoorOpenCmd
TS_LeftDoorSts | Test section left door status | Open | 1 | DI | Access | 0 | PLC |  | TS_LeftDoorSts |  |  | TS_LeftDoorSts |  | TS_LeftDoorSts
TS_Lights1Req | TS lighting zone 1 On/Off command | Off | 0 | DI | Access | 0 | PLC |  | TS_Lights1Req |  |  | TS_Lights1Req |  | TS_Lights1Req
TS_RightDoorCloseCmd | Test section right door Close internal command | - | 0 | DI | Access | 0 | PLC |  | TS_RightDoorCloseCmd |  |  | TS_RightDoorCloseCmd |  | TS_RightDoorCloseCmd
TS_RightDoorOpenCmd | Test section right door Open internal command | - | 0 | DI | Access | 0 | PLC |  | TS_RightDoorOpenCmd |  |  | TS_RightDoorOpenCmd |  | TS_RightDoorOpenCmd
TS_RightDoorSts | Test section right door status | Open | 1 | DI | Access | 0 | PLC |  | TS_RightDoorSts |  |  | TS_RightDoorSts |  | TS_RightDoorSts
AirEx_CloseSts | Air Exchange close position status | Closed | 1 | DI | AirExchange | 0 | PLC |  | AirEx_CloseSts |  |  | AirEx_CloseSts |  | AirEx_CloseSts
AirEx_CrosslegActSts | Air exchange crossleg actuator limit status (ZSH1000A, ZSL1000A, ZSH1000B, ZSL1000B) | Closed | 12 | DI | AirExchange | 0 | PLC |  | AirEx_CrosslegActSts |  |  | AirEx_CrosslegActSts |  | AirEx_CrosslegActSts
AirEx_CrosslegClampCmd | Air exchange crossleg clamp open/close internal command (SOL1001C, SOL1001D) | - | 0 | DI | AirExchange | 0 | PLC |  | AirEx_CrosslegClampCmd |  |  | AirEx_CrosslegClampCmd |  | AirEx_CrosslegClampCmd
AirEx_CrosslegClampSts | Air exchange crossleg clamp status (ZS1001A, ZS1001B) | Closed | 3 | DI | AirExchange | 0 | PLC |  | AirEx_CrosslegClampSts |  |  | AirEx_CrosslegClampSts |  | AirEx_CrosslegClampSts
AirEx_CrosslegCloseSts | Air Exchange crossleg close position summary status | Closed | 1 | DI | AirExchange | 0 | PLC |  | AirEx_CrosslegCloseSts |  |  | AirEx_CrosslegCloseSts |  | AirEx_CrosslegCloseSts
AirEx_CrosslegCmd | Air exchange crossleg actuators 1 & 2 open/close internal command (SOL1000C, SOL1000D) | - | 0 | DI | AirExchange | 0 | PLC |  | AirEx_CrosslegCmd |  |  | AirEx_CrosslegCmd |  | AirEx_CrosslegCmd
AirEx_CrosslegOpenSts | Air exchange crossleg position summary status | Closed | 0 | DI | AirExchange | 0 | PLC |  | AirEx_CrosslegOpenSts |  |  | AirEx_CrosslegOpenSts |  | AirEx_CrosslegOpenSts
AirEx_OpenSts | Air exchange position status | NotOpen | 0 | DI | AirExchange | 0 | PLC |  | AirEx_OpenSts |  |  | AirEx_OpenSts |  | AirEx_OpenSts
AirEx_Perm | Air exchange permissive | NoPerm | 0 | DO | AirExchange | 0 | PLC |  | AirEx_Perm |  |  | AirEx_Perm |  | AirEx_Perm
AirEx_Ready | Air Exchange ready status | Ready | 1 | DI | AirExchange | 0 | PLC |  | AirEx_Ready |  |  | AirEx_Ready |  | AirEx_Ready
AirEx_Req | Air exchange request | Close | 0 | DO | AirExchange | 0 | PLC |  | AirEx_Req |  |  | AirEx_Req |  | AirEx_Req
AirEx_TSDoorClampCmd | Air exchange TS door clamps open/close internal command (SOL1003C, SOL1003D) | - | 0 | DI | AirExchange | 0 | PLC |  | AirEx_TSDoorClampCmd |  |  | AirEx_TSDoorClampCmd |  | AirEx_TSDoorClampCmd
AirEx_TSDoorClampSts | Air exchange test section door clamp status (ZS1003A, ZS1003B) | Closed | 3 | DI | AirExchange | 0 | PLC |  | AirEx_TSDoorClampSts |  |  | AirEx_TSDoorClampSts |  | AirEx_TSDoorClampSts
AirEx_TSDoorCmd | Air exchange test section door open/close internal command (SOL1002C, SOL1002D) | - | 0 | DI | AirExchange | 0 | PLC |  | AirEx_TSDoorCmd |  |  | AirEx_TSDoorCmd |  | AirEx_TSDoorCmd
AirEx_TSDoorSts | Test section door open/close status (ZSH1002, ZSL1002) | Closed | 2 | DI | AirExchange | 0 | PLC |  | AirEx_TSDoorSts |  |  | AirEx_TSDoorSts |  | AirEx_TSDoorSts
MP_AirExPermPB | Air exchange permissive PB, main panel | NoPerm | 0 | DI | AirExchange | 0 | PLC |  | MP_AirExPermPB |  |  | MP_AirExPermPB |  | MP_AirExPermPB
MP_CLegAirExcOpenPB | Crossleg air exchange door open pushbutton, main panel | - | 0 | DI | AirExchange | 0 | PLC |  | MP_CLegAirExcOpenPB |  |  | MP_CLegAirExcOpenPB |  | MP_CLegAirExcOpenPB
MP_TSAirExOpenPB | Test section air exchange door open pushbutton, main panel | - | 0 | DI | AirExchange | 0 | PLC |  | MP_TSAirExcOpenPB |  |  | MP_TSAirExcOpenPB |  | MP_TSAirExOpenPB
AirTemp2004 | Stilling chamber air temperature 1 (TE2004) | 22.9 | 22.9 | AI | Airtemp | 0 | PLC |  | AT_HxOut_TE2004 |  |  | AT_HxOut_TE2004 |  | AirTemp2004
AirTemp2005 | Stilling chamber air temperature 2 (TE2005) | 22.8 | 22.8 | AI | Airtemp | 0 | PLC |  | AT_HxOut_TE2005 |  |  | AT_HxOut_TE2005 |  | AirTemp2005
AirTemp2006 | Stilling chamber air temperature 3 (TE2006) | 22.8 | 22.8 | AI | Airtemp | 0 | PLC |  | AT_HxOut_TE2006 |  |  | AT_HxOut_TE2006 |  | AirTemp2006
AirTemp2007 | Stilling chamber air temperature 4 (TE2007) | 22.7 | 22.7 | AI | Airtemp | 0 | PLC |  | AT_HxOut_TE2007 |  |  | AT_HxOut_TE2007 |  | AirTemp2007
AmbientTemp | Cooler package ambient temperature (TT3014) | 24 | 24 | AI | Airtemp | 0 | PLC |  | AmbientTemp | AmbientTemp |  | AmbientTemp | AmbientTemp | AmbientTemp
AT_PLCMode | PLC air temperature mode (forced to manual: 1) | Manual | 1 | DO | Airtemp | 1 | PLC |  | AT_PLCMode |  |  | AT_PLCMode |  | AT_PLCMode
BypassVlvPosition | Cooling system bypass valve position | -25 | -25 | AI | Airtemp | 0 | PLC |  | BypassVlv_Position | BypassVlvPosition |  | BypassVlv_Position | BypassVlvPosition | BypassVlvPosition
CS_Basin1IsoVlvCmd | Cooling basin 1 isolation valve command (SOL3003) | Closed | 0 | DI | Airtemp | 0 | PLC |  | CS_Basin1IsoVlvCmd |  |  | CS_Basin1IsoVlvCmd |  | CS_Basin1IsoVlvCmd
CS_Basin1IsoVlvReq | Cooling basin 1 isolation valve request (SOL3003) | Close | 0 | DO | Airtemp | 0 | PLC |  | CS_Basin1IsoVlvReq |  |  | CS_Basin1IsoVlvReq |  | CS_Basin1IsoVlvReq
CS_Basin1RtnVlvCmd | Cooling basin 1 return valve command (SOL3011) | Open | 1 | DI | Airtemp | 0 | PLC |  | CS_Basin1RtnVlvCmd |  |  | CS_Basin1RtnVlvCmd |  | CS_Basin1RtnVlvCmd
CS_Basin1RtnVlvReq | Cooling basin 1 return valve request (SOL3011) | Open | 1 | DO | Airtemp | 0 | PLC |  | CS_Basin1RtnVlvReq |  |  | CS_Basin1RtnVlvReq |  | CS_Basin1RtnVlvReq
CS_Basin2IsoVlvCmd | Cooling basin 2 isolation valve command (SOL3004) | Closed | 0 | DI | Airtemp | 0 | PLC |  | CS_Basin2IsoVlvCmd |  |  | CS_Basin2IsoVlvCmd |  | CS_Basin2IsoVlvCmd
CS_Basin2IsoVlvReq | Cooling basin 2 isolation valve request (SOL3004) | Close | 0 | DO | Airtemp | 0 | PLC |  | CS_Basin2IsoVlvReq |  |  | CS_Basin2IsoVlvReq |  | CS_Basin2IsoVlvReq
CS_Basin2RtnVlvCmd | Cooling basin 2 return valve command (SOL3012) | Open | 1 | DI | Airtemp | 0 | PLC |  | CS_Basin2RtnVlvCmd |  |  | CS_Basin2RtnVlvCmd |  | CS_Basin2RtnVlvCmd
CS_Basin2RtnVlvReq | Cooling basin 2 return valve request (SOL3012) | Open | 1 | DO | Airtemp | 0 | PLC |  | CS_Basin2RtnVlvReq |  |  | CS_Basin2RtnVlvReq |  | CS_Basin2RtnVlvReq
CS_BypassVlvLimit | Bypass valve limit (ZSH3100, ZSL3100) | Normal | 0 | DI | Airtemp | 0 | PLC |  | CS_BypassVlvLimit |  |  | CS_BypassVlvLimit |  | CS_BypassVlvLimit
CS_DeltaP | Cooling system delta pressure supply/return (DPT3000) | -8 | -8 | AI | Airtemp | 0 | PLC |  | CS_DeltaP | CS_DeltaP |  | CS_DeltaP | CS_DeltaP | CS_DeltaP
CS_FlowSts | Cooling water supply flow low (FS3019) | Low | 0 | DI | Airtemp | 0 | PLC |  | CS_FlowSts |  |  | CS_FlowSts |  | CS_FlowSts
CS_Htr3000ACmd | Cooling basin heater 3000A On/Off internal command | Off | 0 | DI | Airtemp | 0 | PLC |  | CS_Htr3000ACmd |  |  | CS_Htr3000ACmd |  | CS_Htr3000ACmd
CS_Htr3000ASts | Basin heater 3000A run status | Off | 0 | DI | Airtemp | 0 | PLC |  | CS_Htr3000ASts |  |  | CS_Htr3000ASts |  | CS_Htr3000ASts
CS_Htr3000BCmd | Cooling basin heater 3000B On/Off internal command | Off | 0 | DI | Airtemp | 0 | PLC |  | CS_Htr3000BCmd |  |  | CS_Htr3000BCmd |  | CS_Htr3000BCmd
CS_Htr3000BSts | Basin heater 3000B run status | Off | 0 | DI | Airtemp | 0 | PLC |  | CS_Htr3000BSts |  |  | CS_Htr3000BSts |  | CS_Htr3000BSts
CS_Htr3001ACmd | Cooling basin heater 3001A On/Off internal command | Off | 0 | DI | Airtemp | 0 | PLC |  | CS_Htr3001ACmd |  |  | CS_Htr3001ACmd |  | CS_Htr3001ACmd
CS_Htr3001ASts | Basin heater 3001A run status | Off | 0 | DI | Airtemp | 0 | PLC |  | CS_Htr3001ASts |  |  | CS_Htr3001ASts |  | CS_Htr3001ASts
CS_Htr3001BCmd | Cooling basin heater 3001B On/Off internal command | Off | 0 | DI | Airtemp | 0 | PLC |  | CS_Htr3001BCmd |  |  | CS_Htr3001BCmd |  | CS_Htr3001BCmd
CS_Htr3001BSts | Basin heater 3001B run status | Off | 0 | DI | Airtemp | 0 | PLC |  | CS_Htr3001BSts |  |  | CS_Htr3001BSts |  | CS_Htr3001BSts
CS_PumpCmd | Cooling pump P3100 On/Off internal command | Off | 0 | DI | Airtemp | 0 | PLC |  | CS_PumpCmd |  |  | CS_PumpCmd |  | CS_PumpCmd
CS_PumpDeltaP | Pump differential pressure low (DPS3100) | Low | 0 | DI | Airtemp | 0 | PLC |  | CS_PumpDeltaP |  |  | CS_PumpDeltaP |  | CS_PumpDeltaP
CS_PumpSts | Cooling pump P3100 run status | Off | 0 | DI | Airtemp | 0 | PLC |  | CS_PumpSts |  |  | CS_PumpSts |  | CS_PumpSts
CS_Ready | Cooling system ready to run status | NotReady | 0 | DI | Airtemp | 0 | PLC |  | CS_Ready |  |  | CS_Ready |  | CS_Ready
CS_RtnVent3130Cmd | Cooling system Return vent cmd(SOL 3130) | closed | 0 | DI | Airtemp | 0 | PLC |  | CS_RtnVent3130Cmd |  |  | CS_RtnVent3130Cmd |  | CS_RtnVent3130Cmd
CS_RtnVent3130Req | Cooling system Return Vent Req(SOL 3130) | close | 0 | DO | Airtemp | 0 | PLC |  | CS_RtnVent3130Req |  |  | CS_RtnVent3130Req |  | CS_RtnVent3130Req
CS_RtnVent3131Cmd | Cooling System Return Vent Cmd(SOL3131) | closed | 0 | DI | Airtemp | 0 | PLC |  | CS_RtnVent3131Cmd |  |  | CS_RtnVent3131Cmd |  | CS_RtnVent3131Cmd
CS_RtnVent3131Req | Cooling System Return Vent Req(SOL 3131) | close | 0 | DO | Airtemp | 0 | PLC |  | CS_RtnVent3131Req |  |  | CS_RtnVent3131Req |  | CS_RtnVent3131Req
CS_RunReq | Cooling system On/Off request | Off | 0 | DO | Airtemp | 0 | PLC |  | CS_RunReq |  |  | CS_RunReq |  | CS_RunReq
CS_RunSts | Cooling system On/Off status | Off | 0 | DI | Airtemp | 0 | PLC |  | CS_RunSts |  |  | CS_RunSts |  | CS_RunSts
CS_SupDrain3010Cmd | Cooling supply vent drain command (SOL3010) | Closed | 0 | DI | Airtemp | 0 | PLC |  | CS_SupDrain3010Cmd |  |  | CS_SupDrain3010Cmd |  | CS_SupDrain3010Cmd
CS_SupDrain3010Req | Cooling supply vent drain request (SOL3010) | Close | 0 | DO | Airtemp | 0 | PLC |  | CS_SupDrain3010Req |  |  | CS_SupDrain3010Req |  | CS_SupDrain3010Req
CS_SupVent3149Cmd | Cooling supply vent header command (SOL3149) | Closed | 0 | DI | Airtemp | 0 | PLC |  | CS_SupVent3149Cmd |  |  | CS_SupVent3149Cmd |  | CS_SupVent3149Cmd
CS_SupVent3149Req | Cooling supply vent header request (SOL3149) | Close | 0 | DO | Airtemp | 0 | PLC |  | CS_SupVent3149Req |  |  | CS_SupVent3149Req |  | CS_SupVent3149Req
CS_TowerRunCmd | Cooling controller On/Off internal command | Off | 0 | DI | Airtemp | 0 | PLC |  | CS_TowerRunCmd |  |  | CS_TowerRunCmd |  | CS_TowerRunCmd
CS_TowerRunSts | Cooling tower controller ready status | Off | 0 | DI | Airtemp | 0 | PLC |  | CS_TowerRunSts |  |  | CS_TowerRunSts |  | CS_TowerRunSts
CS_WaterTempCmd | Cooling Tower water temperature command | 12 | 12 | AI | Airtemp | 30 | PLC |  | CS_WaterTempCmd | CS_WaterTempCmd |  | CS_WaterTempCmd | CS_WaterTempCmd | CS_WaterTempCmd
CS_WaterTempSetpt | Cooling tower water temperature setpoint | 12 | 12 | AO | Airtemp | 45 | PLC |  | CS_WaterTempSetpt | CS_WaterTempSetpt |  | CS_WaterTempSetpt | CS_WaterTempSetpt | CS_WaterTempSetpt
HX_AirInTemp | Heat exchanger inlet air temperature (TT2011) | -45.6 | -45.6 | AI | Airtemp | 0 | PLC |  | HX_AirInTemp | HX_AirInTemp |  | HX_AirInTemp | HX_AirInTemp | HX_AirInTemp
HX_AirOutTemp | Heat exchanger outlet air temperature (TT2012) | -45.6 | -45.6 | AI | Airtemp | 0 | PLC |  | HX_AirOutTemp | HX_AirOutTemp |  | HX_AirOutTemp | HX_AirOutTemp | HX_AirOutTemp
HX_SupplyTemp | Cooling tower exit water temperature (TT3002) | -45.6 | -45.6 | AI | Airtemp | 0 | PLC |  | HX_SupplyTemp3002 | HX_SupplyTemp3002 |  | HX_SupplyTemp3002 | HX_SupplyTemp3002 | HX_SupplyTemp
HX_WaterInTemp | Heat exchanger inlet supply water temperature (TT3020) | -319.4 | -319.4 | AI | Airtemp | 0 | PLC |  | HX_WaterInTemp | HX_WaterInTemp |  | HX_WaterInTemp | HX_WaterInTemp | HX_WaterInTemp
MP_AirtempSetpt | Tunnel temperature setpoint, main panel | 0 | 0 | AI | Airtemp | 0 | PLC |  | MP_AirtempSetpt | MP_AirtempSetpt |  | MP_AirtempSetpt | MP_AirtempSetpt | MP_AirtempSetpt
MP_P3100OnPB | Pump 3100 on pushbutton, main panel | - | 0 | DI | Airtemp | 0 | PLC |  | MP_P3100OnPB |  |  | MP_P3100OnPB |  | MP_P3100OnPB
ExB_DI3 | External balance DI 3 | Off | 0 | DI | ExB | 0 | PLC |  | ExB_DI3 |  |  | ExB_DI3 |  | ExB_DI3
ExB_DI4 | External balance DI 4 | Off | 0 | DI | ExB | 0 | PLC |  | ExB_DI4 |  |  | ExB_DI4 |  | ExB_DI4
ExB_DO3 | External balance DO 3 | Off | 0 | DI | ExB | 0 | PLC |  | ExB_DO3 |  |  | ExB_DO3 |  | ExB_DO3
ExB_DO4 | External balance DO 4 | Off | 0 | DI | ExB | 0 | PLC |  | ExB_DO4 |  |  | ExB_DO4 |  | ExB_DO4
ExB_GoToCmd | ExB GOTO command | Off | 0 | DI | ExB | 0 | PLC |  | ExB_GoToCmd |  |  | ExB_GoToCmd |  | ExB_GoToCmd
ExB_MCCCmd | ExB MCC request from GE PLC | Off | 0 | DI | ExB | 0 | PLC |  | ExB_MCCReq |  |  | ExB_MCCReq |  | ExB_MCCCmd
ExB_MCCSts | ExB MCC status | Off | 0 | DI | ExB | 0 | PLC |  | ExB_MCCSts |  |  | ExB_MCCSts |  | ExB_MCCSts
ExB_PositionSts | ExB On-posiiton indication | Off | 0 | DI | ExB | 0 | PLC |  | ExB_PositionSts |  |  | ExB_PositionSts |  | ExB_PositionSts
ExB_Ready | ExB ready status | Not Ready | 0 | DI | ExB | 1 | PLC |  | ExB_Ready |  |  | ExB_Ready |  | ExB_Ready
ExB_RunCmd | ExB On/Off run request from GE PLC | Off | 0 | DI | ExB | 1 | PLC |  | ExB_RunCmd |  |  | ExB_RunCmd |  | ExB_RunCmd
ExB_RunPerm | ExB run permissive | NoPerm | 0 | DI | ExB | 1 | PLC |  | ExB_RunPerm |  |  | ExB_RunPerm |  | ExB_RunPerm
ExB_RunReq | ExB On/Off run request to GE PLC | Off | 0 | DO | ExB | 0 | PLC |  | ExB_RunReq |  |  | ExB_RunReq |  | ExB_RunReq
MP_TSAttachPB | Test section attach pushbutton, main panel | - | 0 | DI | Interchange | 0 | PLC |  | MP_TSAttachPB |  |  | MP_TSAttachPB |  | MP_TSAttachPB
MP_TSIntrChgPermPB | Test section exchange permissive pushbutton, main panel | Off | 0 | DI | Interchange | 0 | PLC |  | MP_TSIntrChgPermPB |  |  | MP_TSIntrChgPermPB |  | MP_TSIntrChgPermPB
TS_IntrChgClampCmd | Test section interchange contraction clamps lock/unlock (SOL2003C, SOL2003D) | - | 0 | DI | Interchange | 0 | PLC |  | TS_IntrChgClampCmd |  |  | TS_IntrChgClampCmd |  | TS_IntrChgClampCmd
TS_IntrChgClampSts | Contraction clamps status (ZSH2003, ZSL2003) | Locked | 2 | DI | Interchange | 0 | PLC |  | TS_IntrChgClampSts |  |  | TS_IntrChgClampSts |  | TS_IntrChgClampSts
TS_IntrChgLimit | Test section interchange lateral Top / Bottom limit | Normal | 3 | DI | Interchange | 0 | PLC |  | TS_IntrChgLimit |  |  | TS_IntrChgLimit |  | TS_IntrChgLimit
TS_IntrChgPerm | Test section interchange permissive | NoPerm | 0 | DO | Interchange | 0 | PLC |  | TS_IntrChgPerm |  |  | TS_IntrChgPerm |  | TS_IntrChgPerm
TS_IntrChgReq | Test section interchange request | Detach | 0 | DO | Interchange | 0 | PLC |  | TS_IntrChgReq |  |  | TS_IntrChgReq |  | TS_IntrChgReq
TS_IntrChgSideLatchCmd | TS interchange latch pins R&L extend/retract command (SOL4006C) | Extend | 1 | DI | Interchange | 0 | PLC |  | TS_IntrChgSideLatchCmd |  |  | TS_IntrChgSideLatchCmd |  | TS_IntrChgSideLatchCmd
TS_IntrChgSideLatchSts | T/S interchange R&L latch pins status (ZSH4006, ZSL4006) | - | 0 | DI | Interchange | 1 | PLC |  | TS_IntrChgSideLatchSts |  |  | TS_IntrChgSideLatchSts |  | TS_IntrChgSideLatchSts
TS_IntrChgSts | Test section interchange attach status | - | 0 | DI | Interchange | 0 | PLC |  | TS_IntrChgSts |  |  | TS_IntrChgSts |  | TS_IntrChgSts
TS_IntrChgVertLatchCmd | TS interchange latch pins T&B extend/retract command (SOL4005C) | Extend | 1 | DI | Interchange | 0 | PLC |  | TS_IntrChgVertLatchCmd |  |  | TS_IntrChgVertLatchCmd |  | TS_IntrChgVertLatchCmd
TS_IntrChgVertLatchSts | T/S interchange T&B latch pins status (ZSH4005, ZSL4005) | - | 0 | DI | Interchange | 1 | PLC |  | TS_IntrChgVertLatchSts |  |  | TS_IntrChgVertLatchSts |  | TS_IntrChgVertLatchSts
TS_SideDiffFlapCloseCmd | TS interchange R&L diffuser flap close internal command (SOL4003C) | Close | 1 | DI | Interchange | 0 | PLC |  | TS_SideDiffFlapCloseCmd |  |  | TS_SideDiffFlapCloseCmd |  | TS_SideDiffFlapCloseCmd
TS_SideDiffFlapOpenCmd | TS interchange R&L diffuser flap open internal command (SOL4003C) | - | 0 | DI | Interchange | 0 | PLC |  | TS_SideDiffFlapOpenCmd |  |  | TS_SideDiffFlapOpenCmd |  | TS_SideDiffFlapOpenCmd
TS_SideDiffFlapSts | T/S interchange R&L flap status (ZSH4003, ZSL4003) | Closed | 2 | DI | Interchange | 0 | PLC |  | TS_SideDiffFlapSts |  |  | TS_SideDiffFlapSts |  | TS_SideDiffFlapSts
TS_VertDiffFlapCloseCmd | TS interchange T&B diffuser flap close command (SOL4004C) | Close | 1 | DI | Interchange | 0 | PLC |  | TS_VertDiffFlapCloseCmd |  |  | TS_VertDiffFlapCloseCmd |  | TS_VertDiffFlapCloseCmd
TS_VertDiffFlapOpenCmd | TS interchange T&B diffuser flap open command (SOL4004C) | - | 0 | DI | Interchange | 0 | PLC |  | TS_VertDiffFlapOpenCmd |  |  | TS_VertDiffFlapOpenCmd |  | TS_VertDiffFlapOpenCmd
TS_VertDiffFlapSts | T/S interchange T&B diffuser flap status (ZSH4004, ZSL4004) | Closed | 2 | DI | Interchange | 0 | PLC |  | TS_VertDiffFlapSts |  |  | TS_VertDiffFlapSts |  | TS_VertDiffFlapSts
PSIAirOn | PSI System Air On Status | 0 | 0 | RES | PSI | 0 | PLC | [6 empty] | PSIAirOn
PSIPowerOn | PSI System Remote Power On Status | 0 | 0 | RES | PSI | 0 | PLC | [6 empty] | PSIPowerOn
PSIVacPumpStart | PSI System Vacuum Pump Start Request | 0 | 0 | RES | PSI | 0 | PLC | [6 empty] | PSIVacPumpStart
PSIVacPumpStartSyn | Copy VacPumpStart from EPS to PLC | Stop | 0 | SYD | PSI | 0 | PLC | PSIVacPumpStart = EPSVacPumpStart\015\012PSIVacPumpStartSyn = EPSVacPumpStart | [5 empty] | PSIVacPumpStartSyn
EstopCmd | E-Stop PLC command | ESTOP | 1 | DI | Safety | 0 | PLC |  | EstopCmd |  |  | EstopCmd |  | EstopCmd
EStopSts | PLC E-Stop status | Normal | 1 | DI | Safety | 0 | PLC |  | EstopSts |  |  | EstopSts |  | EStopSts
Aux_AirCompPerm | Air compressor permissive | Perm | 1 | DI | Tunnel | 0 | PLC |  | Aux_AirCompPerm |  |  | Aux_AirCompPerm |  | Aux_AirCompPerm
Aux_AirCompReq | Air compressor run request | Off | 0 | DO | Tunnel | 0 | PLC |  | Aux_AirCompReq |  |  | Aux_AirCompReq |  | Aux_AirCompReq
Aux_AirCompSts | Air compressor MCC status | Off | 0 | DI | Tunnel | 0 | PLC |  | Aux_AirCompSts |  |  | Aux_AirCompSts |  | Aux_AirCompSts
Aux_UPSSts | UPS On status | On | 1 | DI | Tunnel | 0 | PLC |  | Aux_UPSSts |  |  | Aux_UPSSts |  | Aux_UPSSts
HVAC_Req | HVAC louvers request | Open | 1 | DO | Tunnel | 1 | PLC |  | HVAC_Req |  |  | HVAC_Req |  | HVAC_Req
HVAC_Sts | HVAC lounvers status | Open | 0 | DI | Tunnel | 0 | PLC |  | HVAC_Sts |  |  | HVAC_Sts |  | HVAC_Sts
MP_AirCompOnPB | High pressure air on pushbutton, main panel | - | 0 | DI | Tunnel | 0 | PLC |  | MP_AirCompOnPB |  |  | MP_AirCompOnPB |  | MP_AirCompOnPB
MP_ControlMode | Main Panel control mode selection | Talent | 1 | DI | Tunnel | 0 | PLC |  | MP_ControlMode |  |  | MP_ControlMode |  | MP_ControlMode
MP_HVACOpenPB | HVAC louvers open pushbutton, main panel | - | 0 | DI | Tunnel | 0 | PLC |  | MP_HVACOpenPB |  |  | MP_HVACOpenPB |  | MP_HVACOpenPB
MP_ModeManualPB | Manual Panel pushbutton, main panel | Off | 0 | DI | Tunnel | 0 | PLC |  | MP_ModeManualPB |  |  | MP_ModeManualPB |  | MP_ModeManualPB
MP_ModeOperPB | Operator Interface pushbutton, main panel | Off | 0 | DI | Tunnel | 0 | PLC |  | MP_ModeOperPB |  |  | MP_ModeOperPB |  | MP_ModeOperPB
MP_Sonalert | Sonalert Audible Alarm | Off | 0 | DI | Tunnel | 0 | PLC |  | MP_Sonalert |  |  | MP_Sonalert |  | MP_Sonalert
TS_DoorLockingPinCmd | Test section door pins Open/Close internal command | Extend | 0 | DI | Tunnel | 0 | PLC |  | TS_DoorLockingPinCmd |  |  | TS_DoorLockingPinCmd |  | TS_DoorLockingPinCmd
TS_DoorLockingPinSts | T/S door locking pins open (ZSH5010, ZSL5010) | Extended | 2 | DI | Tunnel | 0 | PLC |  | TS_DoorLockingPinSts |  |  | TS_DoorLockingPinSts |  | TS_DoorLockingPinSts
TS_Lights2Req | TS lighting zone 2 On/Off command | Off | 0 | DI | Tunnel | 0 | PLC |  | TS_Lights2Req |  |  | TS_Lights2Req |  | TS_Lights2Req
TS_Lights3Req | TS lighting zone 3 On/Off command | Off | 0 | DI | Tunnel | 0 | PLC |  | TS_Lights3Req |  |  | TS_Lights3Req |  | TS_Lights3Req
TS_Lights4Req | TS Lighting Zone 4 request | Off | 0 | DI | Tunnel | 0 | PLC |  | TS_Lights4Req |  |  | TS_Lights4Req |  | TS_Lights4Req
HX_DeltaP | Tunnel delta pressure heat exchanger | -17 | -17 | AI | Windspeed | 0 | PLC |  | HX_DeltaP | HX_DeltaP |  | HX_DeltaP | HX_DeltaP | HX_DeltaP
MF_DeltaP | Main fan delta P | -6 | -6 | AI | Windspeed | 0 | PLC |  | MF_DeltaP | MF_DeltaP |  | MF_DeltaP | MF_DeltaP | MF_DeltaP
MF_LimitAirEx | Main fan speed limited to 200 rpm by air exchange | Normal | 0 | DI | Windspeed | 0 | PLC |  | MF_LimitAirEx |  |  | MF_LimitAirEx |  | MF_LimitAirEx
MF_LimitKey | Main fan speed limited to 80 rpm by Key 24 | Normal | 0 | DI | Windspeed | 0 | PLC |  | MF_LimitKey |  |  | MF_LimitKey |  | MF_LimitKey
MF_RunCmd | Main fan drive on off PLC output command | Off | 0 | DI | Windspeed | 0 | PLC |  | MF_RunCmd |  |  | MF_RunCmd |  | MF_RunCmd
MF_RunReq | Main fan drive On/Off command | Off | 0 | DO | Windspeed | 0 | PLC |  | MF_RunReq |  |  | MF_RunReq |  | MF_RunReq
MF_RunSts | Main fan drive ready status | NotReady | 0 | DI | Windspeed | 0 | PLC |  | MF_RunSts |  |  | MF_RunSts |  | MF_RunSts
MF_StallSensor | Main fan anemometer feedback for stall | -961 | -961 | AI | Windspeed | 0 | PLC |  | MF_StallSensor | MF_StallSensor |  | MF_StallSensor | MF_StallSensor | MF_StallSensor
MF_StartPerm | Main fan start permissive | NoPerm | 0 | DI | Windspeed | 0 | PLC |  | MF_StartPerm |  |  | MF_StartPerm |  | MF_StartPerm
MP_MFOnPB | Main fan drive on pushbutton, main panel | - | 0 | DI | Windspeed | 0 | PLC |  | MP_MFOnPB |  |  | MP_MFOnPB |  | MP_MFOnPB
MP_MFSpeedSetpt | Main fan speed setpoint, main panel | 0 | 0 | AI | Windspeed | 0 | PLC |  | MP_MFSpeedSetpt | MP_MFSpeedSetpt |  | MP_MFSpeedSetpt | MP_MFSpeedSetpt | MP_MFSpeedSetpt
Tunnel_ScreenDeltaP | Tunnel delta pressure screens | -8618 | -8618 | AI | Windspeed | 0 | PLC |  | Tunnel_ScreenDeltaP | Tunnel_ScreenDeltaP |  | Tunnel_ScreenDeltaP | Tunnel_ScreenDeltaP | Tunnel_ScreenDeltaP
WS_PLCMode | PLC wind speed mode (forced to rpm: 0) | RPM | 0 | DO | Windspeed | 0 | PLC |  | WS_PLCMode |  |  | WS_PLCMode |  | WS_PLCMode
WS_PressPortBottomReq | Stilling chamber pressure bottom port valve request (SOL2009D) | Open | 0 | DO | Windspeed | 0 | PLC |  | WS_PressPortBottomReq |  |  | WS_PressPortBottomReq |  | WS_PressPortBottomReq
WS_PressPortBottomSts | Stilling chamber pressure bottom port valve status (SOL2009D) | Open | 0 | DI | Windspeed | 0 | PLC |  | WS_PressPortBottomSts |  |  | WS_PressPortBottomSts |  | WS_PressPortBottomSts
WS_PressPortLeftReq | Stilling chamber pressure left port valve request (SOL2009C) | Open | 0 | DO | Windspeed | 0 | PLC |  | WS_PressPortLeftReq |  |  | WS_PressPortLeftReq |  | WS_PressPortLeftReq
WS_PressPortLeftSts | Stilling chamber pressure left port valve status (SOL2009C) | Open | 0 | DI | Windspeed | 0 | PLC |  | WS_PressPortLeftSts |  |  | WS_PressPortLeftSts |  | WS_PressPortLeftSts
WS_PressPortRightReq | Stilling chamber pressure right port valve request (SOL2009A) | Close | 1 | DO | Windspeed | 0 | PLC |  | WS_PressPortRightReq |  |  | WS_PressPortRightReq |  | WS_PressPortRightReq
WS_PressPortRightSts | Stilling chamber pressure right port valve status (SOL2009A) | Closed | 1 | DI | Windspeed | 0 | PLC |  | WS_PressPortRightSts |  |  | WS_PressPortRightSts |  | WS_PressPortRightSts
WS_PressPortTopReq | Stilling chamber pressure top port valve request (SOL2009B) | Open | 0 | DO | Windspeed | 0 | PLC |  | WS_PressPortTopReq |  |  | WS_PressPortTopReq |  | WS_PressPortTopReq
WS_PressPortTopSts | Stilling chamber pressure top port valve status (SOL2009B) | Open | 0 | DI | Windspeed | 0 | PLC |  | WS_PressPortTopSts |  |  | WS_PressPortTopSts |  | WS_PressPortTopSts

## DigitalValueTable
Type | Name | Value | DisplayValue
DS | AirEx_CloseSts | 0 | NotClosed
DS | AirEx_CloseSts | 1 | Closed
DS | AirEx_CrosslegActSts | 0 | -
DS | AirEx_CrosslegActSts | 3 | Open
DS | AirEx_CrosslegActSts | 12 | Closed
DS | AirEx_CrosslegClampCmd | 0 | -
DS | AirEx_CrosslegClampCmd | 1 | Open
DS | AirEx_CrosslegClampCmd | 2 | Close
DS | AirEx_CrosslegClampCmd | 3 | Fault
DS | AirEx_CrosslegClampSts | 0 | -
DS | AirEx_CrosslegClampSts | 3 | Closed
DS | AirEx_CrosslegCloseSts | 0 | NotClosed
DS | AirEx_CrosslegCloseSts | 1 | Closed
DS | AirEx_CrosslegCmd | 0 | -
DS | AirEx_CrosslegCmd | 1 | Open
DS | AirEx_CrosslegCmd | 2 | Close
DS | AirEx_CrosslegCmd | 3 | Fault
DS | AirEx_CrosslegOpenSts | 0 | Closed
DS | AirEx_CrosslegOpenSts | 1 | Open
DS | AirEx_OpenSts | 0 | NotOpen
DS | AirEx_OpenSts | 1 | Open
DS | AirEx_Perm | 0 | NoPerm
DS | AirEx_Perm | 1 | Perm
DS | AirEx_Ready | 0 | NotReady
DS | AirEx_Ready | 1 | Ready
DS | AirEx_Req | 0 | Close
DS | AirEx_Req | 1 | Open
DS | AirEx_TSDoorClampCmd | 0 | -
DS | AirEx_TSDoorClampCmd | 1 | Open
DS | AirEx_TSDoorClampCmd | 2 | Close
DS | AirEx_TSDoorClampCmd | 3 | Fault
DS | AirEx_TSDoorClampSts | 0 | -
DS | AirEx_TSDoorClampSts | 3 | Closed
DS | AirEx_TSDoorCmd | 0 | -
DS | AirEx_TSDoorCmd | 1 | Open
DS | AirEx_TSDoorCmd | 2 | Close
DS | AirEx_TSDoorCmd | 3 | Fault
DS | AirEx_TSDoorSts | 0 | -
DS | AirEx_TSDoorSts | 1 | Open
DS | AirEx_TSDoorSts | 2 | Closed
DS | AirEx_TSDoorSts | 3 | Fault
DS | AT_PLCMode | 0 | Auto
DS | AT_PLCMode | 1 | Manual
DS | Aux_AirCompPerm | 0 | NoPerm
DS | Aux_AirCompPerm | 1 | Perm
DS | Aux_AirCompReq | 0 | Off
DS | Aux_AirCompReq | 1 | On
DS | Aux_AirCompSts | 0 | Off
DS | Aux_AirCompSts | 1 | On
DS | Aux_UPSSts | 0 | Off
DS | Aux_UPSSts | 1 | On
DS | CS_Basin1IsoVlvCmd | 0 | Closed
DS | CS_Basin1IsoVlvCmd | 1 | Open
DS | CS_Basin1IsoVlvReq | 0 | Close
DS | CS_Basin1IsoVlvReq | 1 | Open
DS | CS_Basin1RtnVlvCmd | 0 | Closed
DS | CS_Basin1RtnVlvCmd | 1 | Open
DS | CS_Basin1RtnVlvReq | 0 | Close
DS | CS_Basin1RtnVlvReq | 1 | Open
DS | CS_Basin2IsoVlvCmd | 0 | Closed
DS | CS_Basin2IsoVlvCmd | 1 | Open
DS | CS_Basin2IsoVlvReq | 0 | Close
DS | CS_Basin2IsoVlvReq | 1 | Open
DS | CS_Basin2RtnVlvCmd | 0 | Closed
DS | CS_Basin2RtnVlvCmd | 1 | Open
DS | CS_Basin2RtnVlvReq | 0 | Close
DS | CS_Basin2RtnVlvReq | 1 | Open
DS | CS_BypassVlvLimit | 0 | Normal
DS | CS_BypassVlvLimit | 1 | Open
DS | CS_BypassVlvLimit | 2 | Close
DS | CS_BypassVlvLimit | 3 | Fault
DS | CS_FlowSts | 0 | Low
DS | CS_FlowSts | 1 | Normal
DS | CS_Htr3000ACmd | 0 | Off
DS | CS_Htr3000ACmd | 1 | On
DS | CS_Htr3000ASts | 0 | Off
DS | CS_Htr3000ASts | 1 | On
DS | CS_Htr3000BCmd | 0 | Off
DS | CS_Htr3000BCmd | 1 | On
DS | CS_Htr3000BSts | 0 | Off
DS | CS_Htr3000BSts | 1 | On
DS | CS_Htr3001ACmd | 0 | Off
DS | CS_Htr3001ACmd | 1 | On
DS | CS_Htr3001ASts | 0 | Off
DS | CS_Htr3001ASts | 1 | On
DS | CS_Htr3001BCmd | 0 | Off
DS | CS_Htr3001BCmd | 1 | On
DS | CS_Htr3001BSts | 0 | Off
DS | CS_Htr3001BSts | 1 | On
DS | CS_PumpCmd | 0 | Off
DS | CS_PumpCmd | 1 | On
DS | CS_PumpDeltaP | 0 | Low
DS | CS_PumpDeltaP | 1 | Normal
DS | CS_PumpSts | 0 | Off
DS | CS_PumpSts | 1 | On
DS | CS_Ready | 0 | NotReady
DS | CS_Ready | 1 | Ready
DS | CS_RtnVent3130Cmd | 0 | closed
DS | CS_RtnVent3130Cmd | 1 | open
DS | CS_RtnVent3130Req | 0 | close
DS | CS_RtnVent3130Req | 1 | open
DS | CS_RtnVent3131Cmd | 0 | closed
DS | CS_RtnVent3131Cmd | 1 | open
DS | CS_RtnVent3131Req | 0 | close
DS | CS_RtnVent3131Req | 1 | open
DS | CS_RunReq | 0 | Off
DS | CS_RunReq | 1 | On
DS | CS_RunSts | 0 | Off
DS | CS_RunSts | 1 | On
DS | CS_SupDrain3010Cmd | 0 | Closed
DS | CS_SupDrain3010Cmd | 1 | Open
DS | CS_SupDrain3010Req | 0 | Close
DS | CS_SupDrain3010Req | 1 | Open
DS | CS_SupVent3149Cmd | 0 | Closed
DS | CS_SupVent3149Cmd | 1 | Open
DS | CS_SupVent3149Req | 0 | Close
DS | CS_SupVent3149Req | 1 | Open
DS | CS_TowerRunCmd | 0 | Off
DS | CS_TowerRunCmd | 1 | On
DS | CS_TowerRunSts | 0 | Off
DS | CS_TowerRunSts | 1 | On
DS | Door11 | 0 | Open
DS | Door11 | 1 | Closed
DS | Door12 | 0 | Open
DS | Door12 | 1 | Closed
DS | Door13 | 0 | Open
DS | Door13 | 1 | Closed
DS | Door14 | 0 | Open
DS | Door14 | 1 | Closed
DS | Door15 | 0 | Open
DS | Door15 | 1 | Closed
DS | Door16 | 0 | Open
DS | Door16 | 1 | Closed
DS | Door17 | 0 | Open
DS | Door17 | 1 | Closed
DS | Door18 | 0 | Open
DS | Door18 | 1 | Closed
DS | Door19 | 0 | Open
DS | Door19 | 1 | Closed
DS | Door20 | 0 | Open
DS | Door20 | 1 | Closed
DS | Door21 | 0 | Open
DS | Door21 | 1 | Closed
DS | Door22 | 0 | Open
DS | Door22 | 1 | Closed
DS | Door23 | 0 | Open
DS | Door23 | 1 | Closed
DS | Door25 | 0 | Open
DS | Door25 | 1 | Closed
DS | DoorKey24 | 0 | NoLimit
DS | DoorKey24 | 1 | Limit
DS | EstopCmd | 0 | Normal
DS | EstopCmd | 1 | ESTOP
DS | EStopSts | 0 | ESTOP
DS | EStopSts | 1 | Normal
DS | ExB_DI3 | 0 | Off
DS | ExB_DI3 | 1 | On
DS | ExB_DI4 | 0 | Off
DS | ExB_DI4 | 1 | On
DS | ExB_DO3 | 0 | Off
DS | ExB_DO3 | 1 | On
DS | ExB_DO4 | 0 | Off
DS | ExB_DO4 | 1 | On
DS | ExB_GoToCmd | 0 | Off
DS | ExB_GoToCmd | 1 | Go
DS | ExB_MCCCmd | 0 | Off
DS | ExB_MCCCmd | 1 | On
DS | ExB_MCCSts | 0 | Off
DS | ExB_MCCSts | 1 | On
DS | ExB_PositionSts | 0 | Off
DS | ExB_PositionSts | 1 | OnPosition
DS | ExB_Ready | 0 | Not Ready
DS | ExB_Ready | 1 | Ready
DS | ExB_RunCmd | 0 | Off
DS | ExB_RunCmd | 1 | On
DS | ExB_RunPerm | 0 | NoPerm
DS | ExB_RunPerm | 1 | Perm
DS | ExB_RunReq | 0 | Off
DS | ExB_RunReq | 1 | On
DS | HVAC_Req | 0 | Close
DS | HVAC_Req | 1 | Open
DS | HVAC_Sts | 0 | Open
DS | HVAC_Sts | 1 | Closed
DS | KirkKeySts | 0 | Open
DS | KirkKeySts | 1 | Closed
DS | MF_LimitAirEx | 0 | Normal
DS | MF_LimitAirEx | 1 | Limited
DS | MF_LimitKey | 0 | Normal
DS | MF_LimitKey | 1 | Limited
DS | MF_RunCmd | 0 | Off
DS | MF_RunCmd | 1 | On
DS | MF_RunReq | 0 | Off
DS | MF_RunReq | 1 | On
DS | MF_RunSts | 0 | NotReady
DS | MF_RunSts | 1 | Ready
DS | MF_StartPerm | 0 | NoPerm
DS | MF_StartPerm | 1 | Perm
DS | MP_AirCompOnPB | 0 | -
DS | MP_AirCompOnPB | 1 | On
DS | MP_AirCompOnPB | 2 | Off
DS | MP_AirExPermPB | 0 | NoPerm
DS | MP_AirExPermPB | 1 | Perm
DS | MP_CLegAirExcOpenPB | 0 | -
DS | MP_CLegAirExcOpenPB | 1 | Open
DS | MP_CLegAirExcOpenPB | 2 | Close
DS | MP_ControlMode | 0 | -
DS | MP_ControlMode | 1 | Talent
DS | MP_ControlMode | 2 | TestView
DS | MP_ControlMode | 4 | MainPanel
DS | MP_ControlMode | 8 | Cimp_TE
DS | MP_HVACOpenPB | 0 | -
DS | MP_HVACOpenPB | 1 | Open
DS | MP_HVACOpenPB | 2 | Close
DS | MP_MFOnPB | 0 | -
DS | MP_MFOnPB | 1 | On
DS | MP_MFOnPB | 2 | Off
DS | MP_ModeManualPB | 0 | Off
DS | MP_ModeManualPB | 1 | MPManual
DS | MP_ModeOperPB | 0 | Off
DS | MP_ModeOperPB | 1 | On
DS | MP_P3100OnPB | 0 | -
DS | MP_P3100OnPB | 1 | On
DS | MP_P3100OnPB | 2 | Off
DS | MP_Sonalert | 0 | Off
DS | MP_Sonalert | 1 | On
DS | MP_TSAirExOpenPB | 0 | -
DS | MP_TSAirExOpenPB | 1 | Open
DS | MP_TSAirExOpenPB | 2 | Close
DS | MP_TSAttachPB | 0 | -
DS | MP_TSAttachPB | 1 | Attach
DS | MP_TSAttachPB | 2 | Detach
DS | MP_TSAttachPB | 3 | Fault
DS | MP_TSDoorsPermPB | 0 | NoPerm
DS | MP_TSDoorsPermPB | 1 | Perm
DS | MP_TSIntrChgPermPB | 0 | Off
DS | MP_TSIntrChgPermPB | 1 | On
DS | MP_TSLDoorOpenPB | 0 | -
DS | MP_TSLDoorOpenPB | 1 | Open
DS | MP_TSLDoorOpenPB | 2 | Close
DS | MP_TSRDoorOpenPB | 0 | -
DS | MP_TSRDoorOpenPB | 1 | Open
DS | MP_TSRDoorOpenPB | 2 | Close
DS | PSIVacPumpStartSyn | 0 | Stop
DS | PSIVacPumpStartSyn | 1 | Start
DS | TS_DoorLockingPinCmd | 0 | Extend
DS | TS_DoorLockingPinCmd | 1 | Retract
DS | TS_DoorLockingPinSts | 0 | -
DS | TS_DoorLockingPinSts | 1 | Retracted
DS | TS_DoorLockingPinSts | 2 | Extended
DS | TS_DoorLockingPinSts | 3 | Fault
DS | TS_DoorsPerm | 0 | NoPerm
DS | TS_DoorsPerm | 1 | Perm
DS | TS_DoorsReq | 0 | Close
DS | TS_DoorsReq | 1 | Open
DS | TS_DoorsSts | 0 | -
DS | TS_DoorsSts | 1 | Closed
DS | TS_DoorsSts | 2 | Open
DS | TS_DoorsSts | 3 | Fault
DS | TS_IntrChgClampCmd | 0 | -
DS | TS_IntrChgClampCmd | 1 | Unlock
DS | TS_IntrChgClampCmd | 2 | Lock
DS | TS_IntrChgClampCmd | 3 | Fault
DS | TS_IntrChgClampSts | 0 | -
DS | TS_IntrChgClampSts | 1 | Unlocked
DS | TS_IntrChgClampSts | 2 | Locked
DS | TS_IntrChgClampSts | 3 | Fault
DS | TS_IntrChgLimit | 0 | BothOut
DS | TS_IntrChgLimit | 1 | BottomOut
DS | TS_IntrChgLimit | 2 | TopOut
DS | TS_IntrChgLimit | 3 | Normal
DS | TS_IntrChgPerm | 0 | NoPerm
DS | TS_IntrChgPerm | 1 | Perm
DS | TS_IntrChgReq | 0 | Detach
DS | TS_IntrChgReq | 1 | Attach
DS | TS_IntrChgSideLatchCmd | 0 | -
DS | TS_IntrChgSideLatchCmd | 1 | Extend
DS | TS_IntrChgSideLatchCmd | 2 | Retract
DS | TS_IntrChgSideLatchCmd | 3 | Fault
DS | TS_IntrChgSideLatchSts | 0 | -
DS | TS_IntrChgSideLatchSts | 1 | Extended
DS | TS_IntrChgSideLatchSts | 2 | Retracted
DS | TS_IntrChgSideLatchSts | 3 | Fault
DS | TS_IntrChgSts | 0 | -
DS | TS_IntrChgSts | 1 | Attached
DS | TS_IntrChgSts | 2 | Dettached
DS | TS_IntrChgSts | 3 | Fault
DS | TS_IntrChgVertLatchCmd | 0 | -
DS | TS_IntrChgVertLatchCmd | 1 | Extend
DS | TS_IntrChgVertLatchCmd | 2 | Retract
DS | TS_IntrChgVertLatchCmd | 3 | Fault
DS | TS_IntrChgVertLatchSts | 0 | -
DS | TS_IntrChgVertLatchSts | 1 | Extended
DS | TS_IntrChgVertLatchSts | 2 | Retracted
DS | TS_IntrChgVertLatchSts | 3 | Fault
DS | TS_LeftDoorCloseCmd | 0 | -
DS | TS_LeftDoorCloseCmd | 1 | Close
DS | TS_LeftDoorOpenCmd | 0 | -
DS | TS_LeftDoorOpenCmd | 1 | Open
DS | TS_LeftDoorSts | 0 | -
DS | TS_LeftDoorSts | 1 | Open
DS | TS_LeftDoorSts | 2 | Closed
DS | TS_LeftDoorSts | 3 | Fault
DS | TS_Lights1Req | 0 | Off
DS | TS_Lights1Req | 1 | On
DS | TS_Lights2Req | 0 | Off
DS | TS_Lights2Req | 1 | On
DS | TS_Lights3Req | 0 | Off
DS | TS_Lights3Req | 1 | On
DS | TS_Lights4Req | 0 | Off
DS | TS_Lights4Req | 1 | On
DS | TS_RightDoorCloseCmd | 0 | -
DS | TS_RightDoorCloseCmd | 1 | Close
DS | TS_RightDoorOpenCmd | 0 | -
DS | TS_RightDoorOpenCmd | 1 | Open
DS | TS_RightDoorSts | 0 | -
DS | TS_RightDoorSts | 1 | Open
DS | TS_RightDoorSts | 2 | Closed
DS | TS_RightDoorSts | 3 | Fault
DS | TS_SideDiffFlapCloseCmd | 0 | -
DS | TS_SideDiffFlapCloseCmd | 1 | Close
DS | TS_SideDiffFlapOpenCmd | 0 | -
DS | TS_SideDiffFlapOpenCmd | 1 | Open
DS | TS_SideDiffFlapSts | 0 | -
DS | TS_SideDiffFlapSts | 1 | Open
DS | TS_SideDiffFlapSts | 2 | Closed
DS | TS_SideDiffFlapSts | 3 | Fault
DS | TS_VertDiffFlapCloseCmd | 0 | -
DS | TS_VertDiffFlapCloseCmd | 1 | Close
DS | TS_VertDiffFlapOpenCmd | 0 | -
DS | TS_VertDiffFlapOpenCmd | 1 | Open
DS | TS_VertDiffFlapSts | 0 | -
DS | TS_VertDiffFlapSts | 1 | Open
DS | TS_VertDiffFlapSts | 2 | Closed
DS | TS_VertDiffFlapSts | 3 | Fault
DS | WS_PLCMode | 0 | RPM
DS | WS_PLCMode | 1 | Auto
DS | WS_PressPortBottomReq | 0 | Open
DS | WS_PressPortBottomReq | 1 | Close
DS | WS_PressPortBottomSts | 0 | Open
DS | WS_PressPortBottomSts | 1 | Closed
DS | WS_PressPortLeftReq | 0 | Open
DS | WS_PressPortLeftReq | 1 | Close
DS | WS_PressPortLeftSts | 0 | Open
DS | WS_PressPortLeftSts | 1 | Closed
DS | WS_PressPortRightReq | 0 | Open
DS | WS_PressPortRightReq | 1 | Close
DS | WS_PressPortRightSts | 0 | Open
DS | WS_PressPortRightSts | 1 | Closed
DS | WS_PressPortTopReq | 0 | Open
DS | WS_PressPortTopReq | 1 | Close
DS | WS_PressPortTopSts | 0 | Open
DS | WS_PressPortTopSts | 1 | Closed